{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Agrilog_House_Data","Sheet1","グラフ表示"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Agrilog_House_Data","index":0,"n_rows":287,"n_cols":6,"rows_kept":287,"cut":false,"hidden":false,"merged":[]}
["日付","時刻","室温","湿度","CO2濃度","飽差1"]
["2014-12-24","00:05:01",13.6,81,1173,2.2400000000000002]
["2014-12-24","00:10:01",13.6,80.900000000000006,1177,2.25]
["2014-12-24","00:15:01",13.5,81,1184,2.23]
["2014-12-24","00:20:01",13.5,81.099999999999994,1190,2.21]
["2014-12-24","00:25:01",13.5,81.099999999999994,1191,2.21]
["2014-12-24","00:30:02",13.5,81.3,1200,2.19]
["2014-12-24","00:35:01",13.5,81.400000000000006,1196,2.1800000000000002]
["2014-12-24","00:40:01",13.5,81.5,1191,2.17]
["2014-12-24","00:45:01",13.6,81.599999999999994,1208,2.17]
["2014-12-24","00:50:01",13.6,81.7,1212,2.16]
["2014-12-24","00:55:01",13.6,81.7,1214,2.16]
["2014-12-24","01:00:01",13.6,81.599999999999994,1219,2.17]
["2014-12-24","01:05:01",13.6,81.5,1223,2.1800000000000002]
["2014-12-24","01:10:02",13.6,81.5,1224,2.1800000000000002]
["2014-12-24","01:15:01",13.6,81.400000000000006,1228,2.19]
["2014-12-24","01:20:01",13.6,81.400000000000006,1236,2.19]
["2014-12-24","01:25:01",13.5,81.3,1242,2.19]
["2014-12-24","01:30:01",13.5,81.2,1242,2.2000000000000002]
["2014-12-24","01:35:01",13.5,81.099999999999994,1249,2.21]
["2014-12-24","01:40:02",13.4,80.900000000000006,1254,2.2200000000000002]
["2014-12-24","01:45:01",13.4,81.099999999999994,1254,2.2000000000000002]
["2014-12-24","01:50:01",13.3,80.900000000000006,1261,2.21]
["2014-12-24","01:55:01",13.3,80.900000000000006,1269,2.21]
["2014-12-24","02:00:02",13.2,80.900000000000006,1268,2.2000000000000002]
["2014-12-24","02:05:02",13.2,80.900000000000006,1280,2.2000000000000002]
["2014-12-24","02:10:01",13.2,80.900000000000006,1280,2.2000000000000002]
["2014-12-24","02:15:02",13.1,80.900000000000006,1284,2.1800000000000002]
["2014-12-24","02:20:01",13.1,80.900000000000006,1289,2.1800000000000002]
["2014-12-24","02:25:01",13,80.7,1283,2.19]
["2014-12-24","02:30:01",13.1,80.8,1289,2.19]
["2014-12-24","02:35:01",13.3,81.7,1284,2.12]
["2014-12-24","02:40:01",13.5,81.900000000000006,1282,2.12]
["2014-12-24","02:45:01",13.6,81.900000000000006,1297,2.13]
["2014-12-24","02:50:01",13.5,81.3,1305,2.19]
["2014-12-24","02:55:01",13.4,80.900000000000006,1310,2.2200000000000002]
["2014-12-24","03:00:01",13.3,80.900000000000006,1316,2.21]
["2014-12-24","03:05:01",13.3,81,1320,2.2000000000000002]
["2014-12-24","03:10:01",13.2,80.900000000000006,1328,2.2000000000000002]
["2014-12-24","03:15:01",13.2,80.900000000000006,1327,2.2000000000000002]
["2014-12-24","03:20:01",13.1,80.8,1331,2.19]
["2014-12-24","03:25:01",13,80.8,1324,2.1800000000000002]
["2014-12-24","03:30:02",13.1,80.7,1332,2.21]
["2014-12-24","03:35:01",13.2,81.2,1333,2.16]
["2014-12-24","03:40:02",13.4,81.900000000000006,1332,2.11]
["2014-12-24","03:45:01",13.5,82.1,1332,2.1]
["2014-12-24","03:50:01",13.5,81.400000000000006,1341,2.1800000000000002]
["2014-12-24","03:55:01",13.5,81,1364,2.23]
["2014-12-24","04:00:01",13.3,80.900000000000006,1361,2.21]
["2014-12-24","04:05:01",13.2,81,1357,2.1800000000000002]
["2014-12-24","04:10:01",13.2,81,1365,2.1800000000000002]
["2014-12-24","04:15:02",13.1,81,1368,2.17]
["2014-12-24","04:20:01",13.1,81.099999999999994,1372,2.16]
["2014-12-24","04:25:01",13.1,81.099999999999994,1375,2.16]
["2014-12-24","04:30:01",13,80.8,1376,2.1800000000000002]
["2014-12-24","04:35:01",13.2,81.599999999999994,1368,2.12]
["2014-12-24","04:40:01",13.2,81.599999999999994,1370,2.12]
["2014-12-24","04:45:01",13.4,81.8,1371,2.12]
["2014-12-24","04:50:02",13.5,82.2,1373,2.09]
["2014-12-24","04:55:01",13.5,81.400000000000006,1385,2.1800000000000002]
["2014-12-24","05:00:01",13.3,81.099999999999994,1393,2.19]
["2014-12-24","05:05:01",13.2,80.900000000000006,1400,2.2000000000000002]
["2014-12-24","05:10:01",13.1,80.900000000000006,1403,2.1800000000000002]
["2014-12-24","05:15:01",13,80.5,1407,2.21]
["2014-12-24","05:20:02",13,80.8,1402,2.1800000000000002]
["2014-12-24","05:25:01",13.2,81.400000000000006,1398,2.14]
["2014-12-24","05:30:01",13.3,81.8,1400,2.11]
["2014-12-24","05:35:01",13.5,81.900000000000006,1402,2.12]
["2014-12-24","05:40:01",13.4,81.5,1409,2.15]
["2014-12-24","05:45:01",13.3,81.099999999999994,1425,2.19]
["2014-12-24","05:50:01",13.2,81.099999999999994,1428,2.17]
["2014-12-24","05:55:01",13.2,81.3,1429,2.15]
["2014-12-24","06:00:02",13.2,81.599999999999994,1434,2.12]
["2014-12-24","06:05:01",13.2,81.7,1435,2.1]
["2014-12-24","06:10:01",13.1,81.900000000000006,1436,2.0699999999999998]
["2014-12-24","06:15:02",13.1,81.8,1445,2.08]
["2014-12-24","06:20:01",13.1,81.8,1444,2.08]
["2014-12-24","06:25:01",13.1,81.8,1445,2.08]
["2014-12-24","06:30:02",13.1,81.8,1450,2.08]
["2014-12-24","06:35:01",13.1,81.900000000000006,1450,2.0699999999999998]
["2014-12-24","06:40:02",13.1,82,1454,2.06]
["2014-12-24","06:45:01",13.1,82,1457,2.06]
["2014-12-24","06:50:01",13.1,81.7,1460,2.09]
["2014-12-24","06:55:01",13.3,82.1,1456,2.0699999999999998]
["2014-12-24","07:00:01",13.5,82.8,1450,2.0099999999999998]
["2014-12-24","07:05:01",13.8,83.1,1448,2.02]
["2014-12-24","07:10:01",14,83.4,1457,2.0099999999999998]
["2014-12-24","07:15:01",14.2,83.6,1467,2.0099999999999998]
["2014-12-24","07:20:01",14.4,83.4,1464,2.06]
["2014-12-24","07:25:01",14.8,83.4,1467,2.11]
["2014-12-24","07:30:01",14.8,83.4,1460,2.11]
["2014-12-24","07:35:01",14.8,82.4,1446,2.23]
["2014-12-24","07:40:01",14.6,81.599999999999994,1440,2.31]
["2014-12-24","07:45:01",14.4,81.3,1426,2.3199999999999998]
["2014-12-24","07:50:01",14.2,81.400000000000006,1410,2.27]
["2014-12-24","07:55:01",14.5,82.5,1420,2.1800000000000002]
["2014-12-24","08:00:02",15.1,82.6,1418,2.25]
["2014-12-24","08:05:01",15.1,82.1,1385,2.31]
["2014-12-24","08:10:01",15.1,81.900000000000006,1369,2.34]
["2014-12-24","08:15:01",15.1,81.900000000000006,1344,2.34]
["2014-12-24","08:20:01",15.1,82,1323,2.33]
["2014-12-24","08:25:01",15.1,81.900000000000006,1305,2.34]
["2014-12-24","08:30:02",15,81.8,1278,2.34]
["2014-12-24","08:35:01",15.4,82.4,1257,2.3199999999999998]
["2014-12-24","08:40:01",15.4,82.4,1239,2.3199999999999998]
["2014-12-24","08:45:02",15.6,82.7,1221,2.2999999999999998]
["2014-12-24","08:50:01",15.9,82.8,1202,2.33]
["2014-12-24","08:55:01",16,82.4,1177,2.4]
["2014-12-24","09:00:01",16.2,82.7,1159,2.39]
["2014-12-24","09:05:01",16.3,82.4,1131,2.4500000000000002]
["2014-12-24","09:10:01",16.399999999999999,82.5,1105,2.4500000000000002]
["2014-12-24","09:15:01",16.5,82.4,1087,2.4700000000000002]
["2014-12-24","09:20:02",16.600000000000001,82.4,1061,2.4900000000000002]
["2014-12-24","09:25:01",16.7,82.6,1039,2.48]
["2014-12-24","09:30:01",16.899999999999999,82.7,1011,2.4900000000000002]
["2014-12-24","09:35:01",17.399999999999999,83.3,989,2.48]
["2014-12-24","09:40:01",17.399999999999999,83.3,963,2.48]
["2014-12-24","09:45:01",17.8,82.8,938,2.61]
["2014-12-24","09:50:01",17.8,82.8,912,2.61]
["2014-12-24","09:55:01",18.399999999999999,83.4,883,2.61]
["2014-12-24","10:00:02",18.399999999999999,83.4,857,2.61]
["2014-12-24","10:05:01",18.600000000000001,83.3,827,2.66]
["2014-12-24","10:10:01",18.7,82.7,808,2.77]
["2014-12-24","10:15:01",18.7,82.4,787,2.82]
["2014-12-24","10:20:01",18.8,82.3,759,2.85]
["2014-12-24","10:25:01",18.8,82.4,737,2.84]
["2014-12-24","10:30:02",18.899999999999999,82.5,714,2.84]
["2014-12-24","10:35:01",19.3,83,681,2.82]
["2014-12-24","10:40:02",19.7,83.2,649,2.86]
["2014-12-24","10:45:02",19.899999999999999,83,623,2.93]
["2014-12-24","10:50:01",20.3,83,597,2.99]
["2014-12-24","10:55:01",20.7,83.4,568,2.99]
["2014-12-24","11:00:01",21.1,83.2,542,3.1]
["2014-12-24","11:05:01",21.5,83.1,518,3.19]
["2014-12-24","11:10:01",21.8,82.8,483,3.3]
["2014-12-24","11:15:01",22.1,82.6,462,3.4]
["2014-12-24","11:20:01",22.3,82.3,432,3.5]
["2014-12-24","11:25:02",22.3,81.5,417,3.66]
["2014-12-24","11:30:01",22.7,82,408,3.64]
["2014-12-24","11:35:01",22.7,82,386,3.64]
["2014-12-24","11:40:01",23.3,83.7,359,3.41]
["2014-12-24","11:45:01",24.2,84.1,342,3.5]
["2014-12-24","11:50:01",25,84.3,325,3.62]
["2014-12-24","11:55:01",25.9,83.3,333,4.05]
["2014-12-24","12:00:02",26.3,81.5,327,4.59]
["2014-12-24","12:05:01",26.6,80,349,5.04]
["2014-12-24","12:10:01",26.8,79,360,5.35]
["2014-12-24","12:15:02",27,78.400000000000006,381,5.57]
["2014-12-24","12:20:01",27.2,77.8,391,5.79]
["2014-12-24","12:25:01",27.3,77.2,394,5.97]
["2014-12-24","12:30:01",27.3,76.5,403,6.16]
["2014-12-24","12:35:02",27.3,76.2,407,6.24]
["2014-12-24","12:40:01",27.4,75.8,408,6.38]
["2014-12-24","12:45:02",27.3,75.2,417,6.5]
["2014-12-24","12:50:01",27.3,75.599999999999994,412,6.39]
["2014-12-24","12:55:01",27.6,75.5,408,6.53]
["2014-12-24","13:00:01",27.3,74,399,6.81]
["2014-12-24","13:05:01",27,73.5,414,6.83]
["2014-12-24","13:10:01",26.6,72.5,432,6.93]
["2014-12-24","13:15:01",25.8,73.099999999999994,445,6.49]
["2014-12-24","13:20:02",25.2,72.8,456,6.34]
["2014-12-24","13:25:01",24.7,72.900000000000006,472,6.14]
["2014-12-24","13:30:01",24.1,73.099999999999994,477,5.89]
["2014-12-24","13:35:01",23.8,76.400000000000006,469,5.08]
["2014-12-24","13:40:01",23.9,78.900000000000006,441,4.57]
["2014-12-24","13:45:01",24.4,80.2,415,4.41]
["2014-12-24","13:50:01",25.1,81,399,4.4000000000000004]
["2014-12-24","13:55:02",25.7,81.599999999999994,374,4.41]
["2014-12-24","14:00:01",26.1,80,371,4.9000000000000004]
["2014-12-24","14:05:01",26.4,77.7,360,5.56]
["2014-12-24","14:10:01",26.2,75.5,376,6.04]
["2014-12-24","14:15:01",25.8,73.900000000000006,394,6.29]
["2014-12-24","14:20:01",25.5,73.8,403,6.21]
["2014-12-24","14:25:02",25.3,73.7,411,6.17]
["2014-12-24","14:30:01",25.3,73.900000000000006,413,6.12]
["2014-12-24","14:35:01",25.2,74.099999999999994,413,6.04]
["2014-12-24","14:40:02",25.1,74,413,6.03]
["2014-12-24","14:45:01",25,73.900000000000006,413,6.02]
["2014-12-24","14:50:01",24.8,73.5,424,6.04]
["2014-12-24","14:55:01",24.5,76.900000000000006,420,5.18]
["2014-12-24","15:00:02",24.3,78.099999999999994,409,4.8499999999999996]
["2014-12-24","15:05:01",23.8,78.7,406,4.59]
["2014-12-24","15:10:02",23.8,78.7,403,4.59]
["2014-12-24","15:15:01",23.4,78.900000000000006,412,4.4400000000000004]
["2014-12-24","15:20:01",23.4,78.900000000000006,400,4.4400000000000004]
["2014-12-24","15:25:01",23.2,78.900000000000006,406,4.3899999999999997]
["2014-12-24","15:30:01",22.9,79.099999999999994,408,4.28]
["2014-12-24","15:35:02",22.8,79.599999999999994,400,4.1500000000000004]
["2014-12-24","15:40:01",22.8,80.400000000000006,400,3.99]
["2014-12-24","15:45:01",22.8,80.400000000000006,396,3.99]
["2014-12-24","15:50:02",22.8,80.5,389,3.97]
["2014-12-24","15:55:01",22.6,79.900000000000006,387,4.04]
["2014-12-24","16:00:01",22.3,79.2,389,4.1100000000000003]
["2014-12-24","16:05:01",21.9,78.8,392,4.0999999999999996]
["2014-12-24","16:10:01",21.5,78.7,398,4.0199999999999996]
["2014-12-24","16:15:01",21.1,78.5,403,3.97]
["2014-12-24","16:20:01",20.7,78.8,410,3.82]
["2014-12-24","16:25:01",20.100000000000001,78.900000000000006,419,3.67]
["2014-12-24","16:30:01",20.100000000000001,78.900000000000006,432,3.67]
["2014-12-24","16:35:01",19.600000000000001,79,441,3.55]
["2014-12-24","16:40:01",19.3,78.900000000000006,460,3.5]
["2014-12-24","16:45:01",19,78.5,478,3.51]
["2014-12-24","16:50:01",18.7,78.599999999999994,490,3.43]
["2014-12-24","16:55:02",18.399999999999999,78.8,503,3.34]
["2014-12-24","17:00:01",18.100000000000001,78.7,514,3.3]
["2014-12-24","17:05:01",17.899999999999999,79.2,533,3.18]
["2014-12-24","17:10:01",17.7,79.7,549,3.07]
["2014-12-24","17:15:01",17.5,79.5,558,3.06]
["2014-12-24","17:20:01",17.3,79.900000000000006,570,2.97]
["2014-12-24","17:25:01",17.100000000000001,80,582,2.92]
["2014-12-24","17:30:01",16.899999999999999,79.8,591,2.91]
["2014-12-24","17:35:02",16.399999999999999,79.400000000000006,604,2.88]
["2014-12-24","17:40:01",16.2,79,613,2.9]
["2014-12-24","17:45:02",16.2,79,624,2.9]
["2014-12-24","17:50:01",15.8,79.3,639,2.79]
["2014-12-24","17:55:01",15.8,79.3,651,2.79]
["2014-12-24","18:00:01",15.5,79.099999999999994,667,2.77]
["2014-12-24","18:05:01",15.5,79.099999999999994,676,2.77]
["2014-12-24","18:10:01",15.3,79.099999999999994,686,2.73]
["2014-12-24","18:15:01",15.1,79.2,695,2.69]
["2014-12-24","18:20:02",14.9,79.599999999999994,707,2.6]
["2014-12-24","18:25:01",14.8,79,722,2.66]
["2014-12-24","18:30:01",14.4,79.2,728,2.57]
["2014-12-24","18:35:01",14.4,79.2,736,2.57]
["2014-12-24","18:40:01",14.3,79.2,747,2.56]
["2014-12-24","18:45:01",14.3,79.400000000000006,760,2.5299999999999998]
["2014-12-24","18:50:01",14.2,79.3,768,2.5299999999999998]
["2014-12-24","18:55:01",14.3,80.599999999999994,788,2.39]
["2014-12-24","19:00:01",14.4,80.900000000000006,796,2.36]
["2014-12-24","19:05:01",14.4,80.900000000000006,805,2.36]
["2014-12-24","19:10:02",14.6,80.900000000000006,814,2.39]
["2014-12-24","19:15:01",14.5,80.599999999999994,820,2.42]
["2014-12-24","19:20:01",14.2,80.5,825,2.38]
["2014-12-24","19:25:01",14,80.900000000000006,835,2.31]
["2014-12-24","19:30:01",13.9,81,842,2.2799999999999998]
["2014-12-24","19:35:01",13.9,80.3,850,2.37]
["2014-12-24","19:40:01",13.9,79.5,864,2.46]
["2014-12-24","19:45:01",14,80.599999999999994,875,2.34]
["2014-12-24","19:50:02",14.1,80.8,878,2.33]
["2014-12-24","19:55:01",14.3,81.7,889,2.25]
["2014-12-24","20:00:01",14.3,81,891,2.34]
["2014-12-24","20:05:01",14.1,80.7,895,2.35]
["2014-12-24","20:10:01",13.7,81,898,2.25]
["2014-12-24","20:15:01",13.7,81,908,2.25]
["2014-12-24","20:20:01",13.7,80.7,925,2.29]
["2014-12-24","20:25:01",13.6,80,929,2.36]
["2014-12-24","20:30:01",13.6,80.099999999999994,934,2.35]
["2014-12-24","20:35:01",13.5,79.900000000000006,944,2.35]
["2014-12-24","20:40:01",13.2,79.900000000000006,949,2.31]
["2014-12-24","20:45:01",13.2,79.900000000000006,947,2.31]
["2014-12-24","20:50:01",13.1,80.099999999999994,954,2.27]
["2014-12-24","20:55:01",13,80.5,964,2.21]
["2014-12-24","21:00:01",13.1,80.3,977,2.25]
["2014-12-24","21:05:01",13.1,80.8,990,2.19]
["2014-12-24","21:10:01",13.4,82.7,995,2.0099999999999998]
["2014-12-24","21:15:01",13.4,82.7,1006,2.0099999999999998]
["2014-12-24","21:20:01",13.9,83.3,1011,2]
["2014-12-24","21:25:01",13.9,83.3,1018,2]
["2014-12-24","21:30:01",14.1,83.5,1026,2.0099999999999998]
["2014-12-24","21:35:02",14.4,83.4,1029,2.06]
["2014-12-24","21:40:01",14.5,83.3,1033,2.08]
["2014-12-24","21:45:01",14.7,83.2,1040,2.12]
["2014-12-24","21:50:01",14.9,83.1,1047,2.16]
["2014-12-24","21:55:01",15,83,1047,2.1800000000000002]
["2014-12-24","22:00:01",14.9,82.4,1051,2.25]
["2014-12-24","22:05:01",14.8,81.900000000000006,1057,2.2999999999999998]
["2014-12-24","22:10:01",14.6,81.599999999999994,1058,2.31]
["2014-12-24","22:15:01",14.4,81.3,1064,2.3199999999999998]
["2014-12-24","22:20:01",14.2,80.8,1067,2.35]
["2014-12-24","22:25:02",14,80.7,1077,2.33]
["2014-12-24","22:30:01",13.8,80.599999999999994,1082,2.31]
["2014-12-24","22:35:01",13.7,80,1089,2.37]
["2014-12-24","22:40:02",13.6,80.8,1095,2.2599999999999998]
["2014-12-24","22:45:01",13.6,81.3,1111,2.2000000000000002]
["2014-12-24","22:50:01",13.7,81.7,1118,2.17]
["2014-12-24","22:55:01",13.7,81.7,1125,2.17]
["2014-12-24","23:00:01",13.8,81.599999999999994,1128,2.2000000000000002]
["2014-12-24","23:05:01",13.8,81.599999999999994,1134,2.2000000000000002]
["2014-12-24","23:10:02",13.9,81.599999999999994,1138,2.21]
["2014-12-24","23:15:01",13.9,81.400000000000006,1145,2.23]
["2014-12-24","23:20:01",13.9,81.5,1149,2.2200000000000002]
["2014-12-24","23:25:01",13.9,81.400000000000006,1155,2.23]
["2014-12-24","23:30:01",13.9,81.400000000000006,1158,2.23]
["2014-12-24","23:35:02",13.9,81.599999999999994,1157,2.21]
["2014-12-24","23:40:01",13.9,81.400000000000006,1167,2.23]
["2014-12-24","23:45:02",13.9,81.5,1169,2.2200000000000002]
["2014-12-24","23:50:01",13.9,81.7,1174,2.2000000000000002]

{"sheet":"Sheet1","index":1,"n_rows":287,"n_cols":6,"rows_kept":287,"cut":false,"hidden":false,"merged":[]}
["日付","時刻","室温","湿度","CO2濃度","飽差1"]
["2014-12-24","00:05:01",13.6,81,117.30000174790621,2.2400000000000002]
[" ","00:10:01",13.6,80.900000000000006,117.70000175386667,2.25]
[" ","00:15:01",13.5,81,118.40000176429749,2.23]
[" ","00:20:01",13.5,81.099999999999994,119.00000177323818,2.21]
[" ","00:25:01",13.5,81.099999999999994,119.1000017747283,2.21]
[" ","00:30:02",13.5,81.3,120.00000178813934,2.19]
[" ","00:35:01",13.5,81.400000000000006,119.60000178217888,2.1800000000000002]
[" ","00:40:01",13.5,81.5,119.1000017747283,2.17]
[" ","00:45:01",13.6,81.599999999999994,120.80000180006027,2.17]
[" ","00:50:01",13.6,81.7,121.20000180602074,2.16]
[" ","00:55:01",13.6,81.7,121.40000180900097,2.16]
[" ","01:00:01",13.6,81.599999999999994,121.90000181645155,2.17]
[" ","01:05:01",13.6,81.5,122.30000182241201,2.1800000000000002]
[" ","01:10:02",13.6,81.5,122.40000182390213,2.1800000000000002]
[" ","01:15:01",13.6,81.400000000000006,122.80000182986259,2.19]
[" ","01:20:01",13.6,81.400000000000006,123.60000184178352,2.19]
[" ","01:25:01",13.5,81.3,124.20000185072422,2.19]
[" ","01:30:01",13.5,81.2,124.20000185072422,2.2000000000000002]
[" ","01:35:01",13.5,81.099999999999994,124.90000186115503,2.21]
[" ","01:40:02",13.4,80.900000000000006,125.40000186860561,2.2200000000000002]
[" ","01:45:01",13.4,81.099999999999994,125.40000186860561,2.2000000000000002]
[" ","01:50:01",13.3,80.900000000000006,126.10000187903643,2.21]
[" ","01:55:01",13.3,80.900000000000006,126.90000189095736,2.21]
[" ","02:00:02",13.2,80.900000000000006,126.80000188946724,2.2000000000000002]
[" ","02:05:02",13.2,80.900000000000006,128.00000190734863,2.2000000000000002]
[" ","02:10:01",13.2,80.900000000000006,128.00000190734863,2.2000000000000002]
[" ","02:15:02",13.1,80.900000000000006,128.4000019133091,2.1800000000000002]
[" ","02:20:01",13.1,80.900000000000006,128.90000192075968,2.1800000000000002]
[" ","02:25:01",13,80.7,128.30000191181898,2.19]
[" ","02:30:01",13.1,80.8,128.90000192075968,2.19]
[" ","02:35:01",13.3,81.7,128.4000019133091,2.12]
[" ","02:40:01",13.5,81.900000000000006,128.20000191032887,2.12]
[" ","02:45:01",13.6,81.900000000000006,129.70000193268061,2.13]
[" ","02:50:01",13.5,81.3,130.50000194460154,2.19]
[" ","02:55:01",13.4,80.900000000000006,131.00000195205212,2.2200000000000002]
[" ","03:00:01",13.3,80.900000000000006,131.60000196099281,2.21]
[" ","03:05:01",13.3,81,132.00000196695328,2.2000000000000002]
[" ","03:10:01",13.2,80.900000000000006,132.80000197887421,2.2000000000000002]
[" ","03:15:01",13.2,80.900000000000006,132.70000197738409,2.2000000000000002]
[" ","03:20:01",13.1,80.8,133.10000198334455,2.19]
[" ","03:25:01",13,80.8,132.40000197291374,2.1800000000000002]
[" ","03:30:02",13.1,80.7,133.20000198483467,2.21]
[" ","03:35:01",13.2,81.2,133.30000198632479,2.16]
[" ","03:40:02",13.4,81.900000000000006,133.20000198483467,2.11]
[" ","03:45:01",13.5,82.1,133.20000198483467,2.1]
[" ","03:50:01",13.5,81.400000000000006,134.10000199824572,2.1800000000000002]
[" ","03:55:01",13.5,81,136.40000203251839,2.23]
[" ","04:00:01",13.3,80.900000000000006,136.10000202804804,2.21]
[" ","04:05:01",13.2,81,135.70000202208757,2.1800000000000002]
[" ","04:10:01",13.2,81,136.5000020340085,2.1800000000000002]
[" ","04:15:02",13.1,81,136.80000203847885,2.17]
[" ","04:20:01",13.1,81.099999999999994,137.20000204443932,2.16]
[" ","04:25:01",13.1,81.099999999999994,137.50000204890966,2.16]
[" ","04:30:01",13,80.8,137.60000205039978,2.1800000000000002]
[" ","04:35:01",13.2,81.599999999999994,136.80000203847885,2.12]
[" ","04:40:01",13.2,81.599999999999994,137.00000204145908,2.12]
[" ","04:45:01",13.4,81.8,137.1000020429492,2.12]
[" ","04:50:02",13.5,82.2,137.30000204592943,2.09]
[" ","04:55:01",13.5,81.400000000000006,138.50000206381083,2.1800000000000002]
[" ","05:00:01",13.3,81.099999999999994,139.30000207573175,2.19]
[" ","05:05:01",13.2,80.900000000000006,140.00000208616257,2.2000000000000002]
[" ","05:10:01",13.1,80.900000000000006,140.30000209063292,2.1800000000000002]
[" ","05:15:01",13,80.5,140.70000209659338,2.21]
[" ","05:20:02",13,80.8,140.2000020891428,2.1800000000000002]
[" ","05:25:01",13.2,81.400000000000006,139.80000208318233,2.14]
[" ","05:30:01",13.3,81.8,140.00000208616257,2.11]
[" ","05:35:01",13.5,81.900000000000006,140.2000020891428,2.12]
[" ","05:40:01",13.4,81.5,140.90000209957361,2.15]
[" ","05:45:01",13.3,81.099999999999994,142.50000212341547,2.19]
[" ","05:50:01",13.2,81.099999999999994,142.80000212788582,2.17]
[" ","05:55:01",13.2,81.3,142.90000212937593,2.15]
[" ","06:00:02",13.2,81.599999999999994,143.40000213682652,2.12]
[" ","06:05:01",13.2,81.7,143.50000213831663,2.1]
[" ","06:10:01",13.1,81.900000000000006,143.60000213980675,2.0699999999999998]
[" ","06:15:02",13.1,81.8,144.50000215321779,2.08]
[" ","06:20:01",13.1,81.8,144.40000215172768,2.08]
[" ","06:25:01",13.1,81.8,144.50000215321779,2.08]
[" ","06:30:02",13.1,81.8,145.00000216066837,2.08]
[" ","06:35:01",13.1,81.900000000000006,145.00000216066837,2.0699999999999998]
[" ","06:40:02",13.1,82,145.40000216662884,2.06]
[" ","06:45:01",13.1,82,145.70000217109919,2.06]
[" ","06:50:01",13.1,81.7,146.00000217556953,2.09]
[" ","06:55:01",13.3,82.1,145.60000216960907,2.0699999999999998]
[" ","07:00:01",13.5,82.8,145.00000216066837,2.0099999999999998]
[" ","07:05:01",13.8,83.1,144.80000215768814,2.02]
[" ","07:10:01",14,83.4,145.70000217109919,2.0099999999999998]
[" ","07:15:01",14.2,83.6,146.70000218600035,2.0099999999999998]
[" ","07:20:01",14.4,83.4,146.40000218153,2.06]
[" ","07:25:01",14.8,83.4,146.70000218600035,2.11]
[" ","07:30:01",14.8,83.4,146.00000217556953,2.11]
[" ","07:35:01",14.8,82.4,144.60000215470791,2.23]
[" ","07:40:01",14.6,81.599999999999994,144.00000214576721,2.31]
[" ","07:45:01",14.4,81.3,142.60000212490559,2.3199999999999998]
[" ","07:50:01",14.2,81.400000000000006,141.00000210106373,2.27]
[" ","07:55:01",14.5,82.5,142.00000211596489,2.1800000000000002]
[" ","08:00:02",15.1,82.6,141.80000211298466,2.25]
[" ","08:05:01",15.1,82.1,138.50000206381083,2.31]
[" ","08:10:01",15.1,81.900000000000006,136.90000203996897,2.34]
[" ","08:15:01",15.1,81.900000000000006,134.40000200271606,2.34]
[" ","08:20:01",15.1,82,132.30000197142363,2.33]
[" ","08:25:01",15.1,81.900000000000006,130.50000194460154,2.34]
[" ","08:30:02",15,81.8,127.8000019043684,2.34]
[" ","08:35:01",15.4,82.4,125.70000187307596,2.3199999999999998]
[" ","08:40:01",15.4,82.4,123.90000184625387,2.3199999999999998]
[" ","08:45:02",15.6,82.7,122.10000181943178,2.2999999999999998]
[" ","08:50:01",15.9,82.8,120.20000179111958,2.33]
[" ","08:55:01",16,82.4,117.70000175386667,2.4]
[" ","09:00:01",16.2,82.7,115.90000172704458,2.39]
[" ","09:05:01",16.3,82.4,113.10000168532133,2.4500000000000002]
[" ","09:10:01",16.399999999999999,82.5,110.50000164657831,2.4500000000000002]
[" ","09:15:01",16.5,82.4,108.70000161975622,2.4700000000000002]
[" ","09:20:02",16.600000000000001,82.4,106.1000015810132,2.4900000000000002]
[" ","09:25:01",16.7,82.6,103.90000154823065,2.48]
[" ","09:30:01",16.899999999999999,82.7,101.1000015065074,2.4900000000000002]
[" ","09:35:01",17.399999999999999,83.3,98.900001473724842,2.48]
[" ","09:40:01",17.399999999999999,83.3,96.300001434981823,2.48]
[" ","09:45:01",17.8,82.8,93.80000139772892,2.61]
[" ","09:50:01",17.8,82.8,91.200001358985901,2.61]
[" ","09:55:01",18.399999999999999,83.4,88.300001315772533,2.61]
[" ","10:00:02",18.399999999999999,83.4,85.700001277029514,2.61]
[" ","10:05:01",18.600000000000001,83.3,82.700001232326031,2.66]
[" ","10:10:01",18.7,82.7,80.800001204013824,2.77]
[" ","10:15:01",18.7,82.4,78.700001172721386,2.82]
[" ","10:20:01",18.8,82.3,75.900001130998135,2.85]
[" ","10:25:01",18.8,82.4,73.70000109821558,2.84]
[" ","10:30:02",18.899999999999999,82.5,71.400001063942909,2.84]
[" ","10:35:01",19.3,83,68.100001014769077,2.82]
[" ","10:40:02",19.7,83.2,64.900000967085361,2.86]
[" ","10:45:02",19.899999999999999,83,62.300000928342342,2.93]
[" ","10:50:01",20.3,83,59.700000889599323,2.99]
[" ","10:55:01",20.7,83.4,56.800000846385956,2.99]
[" ","11:00:01",21.1,83.2,54.200000807642937,3.1]
[" ","11:05:01",21.5,83.1,51.80000077188015,3.19]
[" ","11:10:01",21.8,82.8,48.300000719726086,3.3]
[" ","11:15:01",22.1,82.6,46.200000688433647,3.4]
[" ","11:20:01",22.3,82.3,43.200000643730164,3.5]
[" ","11:25:02",22.3,81.5,41.700000621378422,3.66]
[" ","11:30:01",22.7,82,40.800000607967377,3.64]
[" ","11:35:01",22.7,82,38.600000575184822,3.64]
[" ","11:40:01",23.3,83.7,35.900000534951687,3.41]
[" ","11:45:01",24.2,84.1,34.200000509619713,3.5]
[" ","11:50:01",25,84.3,32.500000484287739,3.62]
[" ","11:55:01",25.9,83.3,33.300000496208668,4.05]
[" ","12:00:02",26.3,81.5,32.700000487267971,4.59]
[" ","12:05:01",26.6,80,34.900000520050526,5.04]
[" ","12:10:01",26.8,79,36.000000536441803,5.35]
[" ","12:15:02",27,78.400000000000006,38.100000567734241,5.57]
[" ","12:20:01",27.2,77.8,39.100000582635403,5.79]
[" ","12:25:01",27.3,77.2,39.400000587105751,5.97]
[" ","12:30:01",27.3,76.5,40.300000600516796,6.16]
[" ","12:35:02",27.3,76.2,40.700000606477261,6.24]
[" ","12:40:01",27.4,75.8,40.800000607967377,6.38]
[" ","12:45:02",27.3,75.2,41.700000621378422,6.5]
[" ","12:50:01",27.3,75.599999999999994,41.200000613927841,6.39]
[" ","12:55:01",27.6,75.5,40.800000607967377,6.53]
[" ","13:00:01",27.3,74,39.900000594556332,6.81]
[" ","13:05:01",27,73.5,41.400000616908073,6.83]
[" ","13:10:01",26.6,72.5,43.200000643730164,6.93]
[" ","13:15:01",25.8,73.099999999999994,44.500000663101673,6.49]
[" ","13:20:02",25.2,72.8,45.60000067949295,6.34]
[" ","13:25:01",24.7,72.900000000000006,47.200000703334808,6.14]
[" ","13:30:01",24.1,73.099999999999994,47.700000710785389,5.89]
[" ","13:35:01",23.8,76.400000000000006,46.90000069886446,5.08]
[" ","13:40:01",23.9,78.900000000000006,44.100000657141209,4.57]
[" ","13:45:01",24.4,80.2,41.50000061839819,4.41]
[" ","13:50:01",25.1,81,39.900000594556332,4.4000000000000004]
[" ","13:55:02",25.7,81.599999999999994,37.400000557303429,4.41]
[" ","14:00:01",26.1,80,37.10000055283308,4.9000000000000004]
[" ","14:05:01",26.4,77.7,36.000000536441803,5.56]
[" ","14:10:01",26.2,75.5,37.600000560283661,6.04]
[" ","14:15:01",25.8,73.900000000000006,39.400000587105751,6.29]
[" ","14:20:01",25.5,73.8,40.300000600516796,6.21]
[" ","14:25:02",25.3,73.7,41.100000612437725,6.17]
[" ","14:30:01",25.3,73.900000000000006,41.300000615417957,6.12]
[" ","14:35:01",25.2,74.099999999999994,41.300000615417957,6.04]
[" ","14:40:02",25.1,74,41.300000615417957,6.03]
[" ","14:45:01",25,73.900000000000006,41.300000615417957,6.02]
[" ","14:50:01",24.8,73.5,42.400000631809235,6.04]
[" ","14:55:01",24.5,76.900000000000006,42.00000062584877,5.18]
[" ","15:00:02",24.3,78.099999999999994,40.900000609457493,4.8499999999999996]
[" ","15:05:01",23.8,78.7,40.600000604987144,4.59]
[" ","15:10:02",23.8,78.7,40.300000600516796,4.59]
[" ","15:15:01",23.4,78.900000000000006,41.200000613927841,4.4400000000000004]
[" ","15:20:01",23.4,78.900000000000006,40.000000596046448,4.4400000000000004]
[" ","15:25:01",23.2,78.900000000000006,40.600000604987144,4.3899999999999997]
[" ","15:30:01",22.9,79.099999999999994,40.800000607967377,4.28]
[" ","15:35:02",22.8,79.599999999999994,40.000000596046448,4.1500000000000004]
[" ","15:40:01",22.8,80.400000000000006,40.000000596046448,3.99]
[" ","15:45:01",22.8,80.400000000000006,39.600000590085983,3.99]
[" ","15:50:02",22.8,80.5,38.90000057965517,3.97]
[" ","15:55:01",22.6,79.900000000000006,38.700000576674938,4.04]
[" ","16:00:01",22.3,79.2,38.90000057965517,4.1100000000000003]
[" ","16:05:01",21.9,78.8,39.200000584125519,4.0999999999999996]
[" ","16:10:01",21.5,78.7,39.800000593066216,4.0199999999999996]
[" ","16:15:01",21.1,78.5,40.300000600516796,3.97]
[" ","16:20:01",20.7,78.8,41.000000610947609,3.82]
[" ","16:25:01",20.100000000000001,78.900000000000006,41.900000624358654,3.67]
[" ","16:30:01",20.100000000000001,78.900000000000006,43.200000643730164,3.67]
[" ","16:35:01",19.600000000000001,79,44.100000657141209,3.55]
[" ","16:40:01",19.3,78.900000000000006,46.000000685453415,3.5]
[" ","16:45:01",19,78.5,47.800000712275505,3.51]
[" ","16:50:01",18.7,78.599999999999994,49.000000730156898,3.43]
[" ","16:55:02",18.399999999999999,78.8,50.300000749528408,3.34]
[" ","17:00:01",18.100000000000001,78.7,51.400000765919685,3.3]
[" ","17:05:01",17.899999999999999,79.2,53.300000794231892,3.18]
[" ","17:10:01",17.7,79.7,54.90000081807375,3.07]
[" ","17:15:01",17.5,79.5,55.800000831484795,3.06]
[" ","17:20:01",17.3,79.900000000000006,57.000000849366188,2.97]
[" ","17:25:01",17.100000000000001,80,58.200000867247581,2.92]
[" ","17:30:01",16.899999999999999,79.8,59.100000880658627,2.91]
[" ","17:35:02",16.399999999999999,79.400000000000006,60.400000900030136,2.88]
[" ","17:40:01",16.2,79,61.300000913441181,2.9]
[" ","17:45:02",16.2,79,62.400000929832458,2.9]
[" ","17:50:01",15.8,79.3,63.9000009521842,2.79]
[" ","17:55:01",15.8,79.3,65.100000970065594,2.79]
[" ","18:00:01",15.5,79.099999999999994,66.700000993907452,2.77]
[" ","18:05:01",15.5,79.099999999999994,67.600001007318497,2.77]
[" ","18:10:01",15.3,79.099999999999994,68.600001022219658,2.73]
[" ","18:15:01",15.1,79.2,69.500001035630703,2.69]
[" ","18:20:02",14.9,79.599999999999994,70.700001053512096,2.6]
[" ","18:25:01",14.8,79,72.200001075863838,2.66]
[" ","18:30:01",14.4,79.2,72.800001084804535,2.57]
[" ","18:35:01",14.4,79.2,73.600001096725464,2.57]
[" ","18:40:01",14.3,79.2,74.700001113116741,2.56]
[" ","18:45:01",14.3,79.400000000000006,76.000001132488251,2.5299999999999998]
[" ","18:50:01",14.2,79.3,76.80000114440918,2.5299999999999998]
[" ","18:55:01",14.3,80.599999999999994,78.800001174211502,2.39]
[" ","19:00:01",14.4,80.900000000000006,79.600001186132431,2.36]
[" ","19:05:01",14.4,80.900000000000006,80.500001199543476,2.36]
[" ","19:10:02",14.6,80.900000000000006,81.400001212954521,2.39]
[" ","19:15:01",14.5,80.599999999999994,82.000001221895218,2.42]
[" ","19:20:01",14.2,80.5,82.500001229345798,2.38]
[" ","19:25:01",14,80.900000000000006,83.50000124424696,2.31]
[" ","19:30:01",13.9,81,84.200001254677773,2.2799999999999998]
[" ","19:35:01",13.9,80.3,85.000001266598701,2.37]
[" ","19:40:01",13.9,79.5,86.400001287460327,2.46]
[" ","19:45:01",14,80.599999999999994,87.500001303851604,2.34]
[" ","19:50:02",14.1,80.8,87.800001308321953,2.33]
[" ","19:55:01",14.3,81.7,88.90000132471323,2.25]
[" ","20:00:01",14.3,81,89.100001327693462,2.34]
[" ","20:05:01",14.1,80.7,89.500001333653927,2.35]
[" ","20:10:01",13.7,81,89.800001338124275,2.25]
[" ","20:15:01",13.7,81,90.800001353025436,2.25]
[" ","20:20:01",13.7,80.7,92.50000137835741,2.29]
[" ","20:25:01",13.6,80,92.900001384317875,2.36]
[" ","20:30:01",13.6,80.099999999999994,93.400001391768456,2.35]
[" ","20:35:01",13.5,79.900000000000006,94.400001406669617,2.35]
[" ","20:40:01",13.2,79.900000000000006,94.900001414120197,2.31]
[" ","20:45:01",13.2,79.900000000000006,94.700001411139965,2.31]
[" ","20:50:01",13.1,80.099999999999994,95.400001421570778,2.27]
[" ","20:55:01",13,80.5,96.400001436471939,2.21]
[" ","21:00:01",13.1,80.3,97.700001455843449,2.25]
[" ","21:05:01",13.1,80.8,99.000001475214958,2.19]
[" ","21:10:01",13.4,82.7,99.500001482665539,2.0099999999999998]
[" ","21:15:01",13.4,82.7,100.60000149905682,2.0099999999999998]
[" ","21:20:01",13.9,83.3,101.1000015065074,2]
[" ","21:25:01",13.9,83.3,101.80000151693821,2]
[" ","21:30:01",14.1,83.5,102.60000152885914,2.0099999999999998]
[" ","21:35:02",14.4,83.4,102.90000153332949,2.06]
[" ","21:40:01",14.5,83.3,103.30000153928995,2.08]
[" ","21:45:01",14.7,83.2,104.00000154972076,2.12]
[" ","21:50:01",14.9,83.1,104.70000156015158,2.16]
[" ","21:55:01",15,83,104.70000156015158,2.1800000000000002]
[" ","22:00:01",14.9,82.4,105.10000156611204,2.25]
[" ","22:05:01",14.8,81.900000000000006,105.70000157505274,2.2999999999999998]
[" ","22:10:01",14.6,81.599999999999994,105.80000157654285,2.31]
[" ","22:15:01",14.4,81.3,106.40000158548355,2.3199999999999998]
[" ","22:20:01",14.2,80.8,106.7000015899539,2.35]
[" ","22:25:02",14,80.7,107.70000160485506,2.33]
[" ","22:30:01",13.8,80.599999999999994,108.20000161230564,2.31]
[" ","22:35:01",13.7,80,108.90000162273645,2.37]
[" ","22:40:02",13.6,80.8,109.50000163167715,2.2599999999999998]
[" ","22:45:01",13.6,81.3,111.10000165551901,2.2000000000000002]
[" ","22:50:01",13.7,81.7,111.80000166594982,2.17]
[" ","22:55:01",13.7,81.7,112.50000167638063,2.17]
[" ","23:00:01",13.8,81.599999999999994,112.80000168085098,2.2000000000000002]
[" ","23:05:01",13.8,81.599999999999994,113.40000168979168,2.2000000000000002]
[" ","23:10:02",13.9,81.599999999999994,113.80000169575214,2.21]
[" ","23:15:01",13.9,81.400000000000006,114.50000170618296,2.23]
[" ","23:20:01",13.9,81.5,114.90000171214342,2.2200000000000002]
[" ","23:25:01",13.9,81.400000000000006,115.50000172108412,2.23]
[" ","23:30:01",13.9,81.400000000000006,115.80000172555447,2.23]
[" ","23:35:02",13.9,81.599999999999994,115.70000172406435,2.21]
[" ","23:40:01",13.9,81.400000000000006,116.70000173896551,2.23]
[" ","23:45:02",13.9,81.5,116.90000174194574,2.2200000000000002]
[" ","23:50:01",13.9,81.7,117.40000174939632,2.2000000000000002]

{"sheet":"グラフ表示","index":2,"n_rows":1,"n_cols":8,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,"CO2",0.1,"日射量",100]